
	Issue: 1.1
	BREEAM In Use
	BES 5058

	Date: 27 Oct 2009
	
	Page 4 of 14



[image: image1.jpg]breeam




BRE Environmental & Sustainability Standard

BES 5058: ISSUE 1.1

BREEAM in Use
This standard covers major environmental issues which affect buildings throughout their operational life 

It is also compatible with major regulatory and corporate reporting systems including energy performance certificates (EPCs); Display Energy Certificates (DECs); the IPD Environment Code; ISO 14001; RR (Fire safety) Order; Global Reporting Initiative (GRI) etc.

This standard is relevant to all non-domestic commercial, industrial, retail and institutional buildings.  

This standard sets out the scope of assessments carried out under BREEAM in Use.  Application of this standard is carried out in accordance with national Scheme Documents that tailor the assessment to local national regulations and standards.  These may be developed locally and approved by BRE Global.

This BRE Environmental & Sustainability Standard is the property of BRE Global Ltd. and is made publicly available for information purposes only. Its use for testing, assessment, certification or approval must be in accordance with BRE Global internal procedures and requires interpretation by BRE Global and BRE experts. Any party wishing to use this BRE Environmental & Sustainability Standard to offer testing, assessment, certification or approval must apply to BRE Global for training, assessment and a licence; a fee will normally be charged. BRE Global will not unreasonably refuse such applications. BRE Global accepts no responsibility for any unauthorised use or distribution by others of this BRE Environmental & Sustainability Standard and may take legal action to prevent such unauthorised use or distribution.

CONTENTS

· PARTICIPATING ORGANISATIONS


3

-
FOREWORD





4
1
SCOPE






5
2
STRUCTURE





5
Part 1
Asset Rating





7
Part 2
Operational Rating




9
Part 3
Occupier Rating





12
 



PARTICIPATING ORGANISATIONS

This standard was approved by the BRE Global Sustainability Board. The following organisations participated in the preparation of this standard:-
Mendip District Council

Olympic Delivery Authority

Feilden Clegg Bradley

Land Securities Trillium

Beyond Green

UK Green Building Council

The Housing Corporation

Academy for Sustainable Communities
English Partnerships

WWF-UK

Home Builders Federation

Co-op Banking

British Property Federation

NHBC

Inbuilt Ltd

Construction Products Association

Arup

Forum for the Future

Stanhope plc
REVISION OF BRE Environmental & Sustainability StANDARDS
BRE Environmental & Sustainability Standards will be revised by issue of revised editions or amendments. Details will be posted on our website at:

www.GreenBookLive.com.
Technical or other changes which affect the requirements for the approval or certification of the product or service will result in a new issue.  Minor or administrative changes (e.g. corrections of spelling and typographical errors, changes to address and copyright details, the addition of notes for clarification etc.) may be made as amendments.
The issue number will be given in decimal format with the integer part giving the issue number and the fractional part giving the number of amendments (e.g. Issue 3.2 indicates that the document is at Issue 3 with 2 amendments).
Users of BRE Environmental & Sustainability Standards should ensure that they possess the latest issue and all amendments.

Foreword
This standard has been produced to enable provision of information about the environmental performance of:
· the building (Asset Rating); 
· the operation of the building (Building Management Rating); 
· how clients are managing their activities within the building (Organisational rating). 
The information will enable regulators, clients, tenants, buildings managers and investment managers to establish the environmental sustainability of their existing buildings (and/or portfolios), their operation and activities which in turn will help them to both reduce their costs and improve their environmental sustainability. 
BREEAM in Use can be used internationally.  It is applied through BRE Global approved national Scheme Documents relating to local regulatory and property management frameworks and standards applicable in the country of assessment.  The following issues and relative weightings given in Parts 1, 2 and 3 of this standard may be tailored for use outside of the UK subject to approval from BRE Global.

A commitment to use BREEAM in Use is included within the BREEAM Design and Procurement and Post Construction requirements for an Outstanding Rating.
NOTES

1. Compliance with this BES does not of itself confer immunity from legal obligations. Users of BESs should ensure that they possess the latest issue and all amendments.

2. BRE Global welcomes comments of a technical or editorial nature and these should be addressed to “the Technical Director” at enquiries@breglobal.co.uk.

3. BRE and BRE Global are owned by the BRE Trust which is a registered charity. For further information on our services please contact BRE Global, Watford, Herts. WD25 9XX or e-mail to enquiries@breglobal.co.uk 
1. Scope

This standard (BES 5058) covers major environmental issues which affect buildings throughout their operational life including: 
· energy and greenhouse gas emissions; 
· water; 
· waste; 
· air quality; 
· noise; 
· lighting; 
· property protection 
· fire protection etc.
It is also compatible with major regulatory and corporate reporting systems including energy performance certificates (EPCs); Display Energy Certificates (DECs); the IPD Environment Code; ISO 14001; RR (Fire safety) Order; Global Reporting Initiative (GRI) etc.

This standard is relevant to all non-domestic commercial, industrial, retail and institutional buildings.  

This standard sets out the scope of assessments carried out under BREEAM in Use.  The full assessment criteria is not included within this standard but can be located at www.breeam.org/inuse when you register an asset. Note: There is a fee associated with registering an asset, full details of the scheme fees can be found on fee sheet FS021 which can be located at www.breeam.org/inuse. Application of this standard is carried out in accordance with national Scheme Documents that tailor the assessment to local national regulations and standards.  These may be developed locally and approved by BRE Global.

2. Structure

This standard is arranged in 3 Parts as follows:

	Part 1
	Asset performance – the inherent performance characteristics of the building based on its built form, construction and services

	Part 2
	Building management performance – the management policies, procedures and practices related to the operation of the building; the consumption of key resources such as energy, water and other consumables; and environmental impacts such as carbon and waste generation

	Part 3
	Organisational effectiveness – the understanding and implementation of management policies, procedures and practices; staff engagement; and delivery of key outputs


The core criteria, which are relevant to all building types, covered by the Standard, are listed in Parts 1 to 3 of this Standard.  Detailed requirements, building specific criteria and assessment standards will be set out in the Scheme Documents and assessment tool that support this Standard, and which are provided to clients at certification.  

.

Part 1 – Asset Rating

The standards
Part 1 of this Standard provides a quality measure of a building’s inherent performance characteristics based on its built form, construction and services. 
A Part 1 assessment can be carried out independently of any assessment against Parts 2 or 3 of this standard.

Table 1 sets out the core scope of the Standard against which all Part 1 assessments will be carried out.  It is not necessary to meet all of these criteria to achieve a rating against the Standard. Building type specific performance standards are set for these issues within the Scheme Documents.

	Table 1 – Core Asset Rating Scope

	Assessment criteria
	Section weighting

	ENERGY
	26.5%

	Level of CO2 emissions*
	

	Sub-metering of substantial energy uses
	

	Sub-metering of areas/tenancy
	

	Renewable and low emission energy (built in)
	

	WATER
	8.0%

	Water consumption
	

	Water meter
	

	Leak detection systems
	

	Water recycling (use of rainwater / greywater (recycled water))
	

	MATERIALS 
	8.5%

	Robustness (Impact protection / Durability/designing for longevity)
	

	Quality of asset (i.e. how well it has been maintained)
	

	Security (quality and maintenance status of systems)
	

	Fire protection (Remotely monitored fire alarms systems)
	

	WASTE
	5%

	Storage of recyclable waste
	

	HEALTH & WELLBEING
	17.0%

	Daylighting (provision and control)
	

	Artificial lighting design (quality; levels; control)
	

	Indoor air quality (ventilation rates; indoor air quality; microbial contamination)
	

	Thermal control
	

	Acoustic performance
	

	Drinking water provision (plumbed in water coolers)
	

	Outdoor space
	

	POLLUTION
	14.0%

	Ground/water pollution control measures
	

	Flood risk
	

	Flood management facilities (incl. Sustainable Urban Drainage (SUDs))
	

	Refrigerant type and leakage detection/control
	

	Emissions to air (incl. NOx)
	

	Land contamination
	

	TRANSPORT
	11.5%

	Proximity of amenities
	

	Cyclist facilities
	

	Accessibility/availability of public transport
	

	Pedestrian/cyclist safety 
	

	LAND USE & ECOLOGY (Biodiversity)
	9.5%

	Ecological value (including enhancement)
	


*Note (Not a part of this standard):  The level of CO2 emissions can be demonstrated by input of the EPC rating or an alternative method where a full EPC is not available 

Part 2 – Building Management Rating

The standards

Part 2 of this standard provides a qualitative measure of:

· management policies, procedures and practices related to the operation of a building; 

· consumption of key resources such as energy, water and other consumables; and 

· the environmental impacts of carbon and waste.  

It is independent of the inherent environmental quality of the building itself. Such management policies may be applied at a building, estate level or corporate level but are assessed in terms of their implementation within the building. 
A Part 2 assessment can be carried out independently of any assessment against Parts 1 or 3 of this standard. 

Table 2 sets out the core scope of the Standard against which all Part 2 assessments will be carried out.  It is not necessary to meet all of these criteria in order to achieve a rating against the Standard. Building type specific performance standards are set for these issues within the Scheme Documents. 
	Table 2 – Building Management Rating Scope

	Assessment criteria
	Section weighting

	ENERGY
	31.5%

	Level of CO2 emissions*
	

	Maintenance regime / schedules
	

	Energy audit
	

	Energy / CO2 monitoring, targeting & reduction
	

	Energy reporting/information
	

	Energy management
	

	WATER
	5.5%

	Maintenance of sanitary fittings and controls
	

	Water consumption monitoring
	

	MATERIALS 
	7.5%

	Hazardous materials 
	

	Security survey (covering building and site arrangements facilities)
	

	Security system remote monitoring
	

	Fire protection / resilience (Fire risk; emergency plan) 
	

	HEALTH & WELLBEING
	15.0%

	Refurbishment policies
	

	Volatile organic compound policies 
	

	Cleaning policies
	

	Occupant satisfaction surveys
	

	Maintenance of lighting levels
	

	LAND USE & ECOLOGY
	12.5%

	Biodiversity action plan
	

	Ecological survey
	

	POLLUTION
	13.0%

	Management/maintenance of ground/water pollution control measures (incl. hazardous chemicals)
	

	Flood risk management plan and procedures (incl. Sustainable Drainage Systems)
	

	Maintenance procedures/plans
	

	Refrigerant leakage monitoring
	

	Control of emissions to air
	

	Land contamination
	

	Light pollution control
	

	MANAGEMENT (systems relating to the building(s) covered)
Note:  These may be corporate level systems but must be implemented in practice at the building level
	15%

	Building user guide 
	

	Operating manuals
	

	Local environmental responsibility(staff designated)  **
	

	Building user liaison mechanisms and education programme
	

	Environmental policy implementation (covering building level issues) **
	

	Environmental purchasing policy implementation (covering building level issues) **
	

	Environmental management system (covering building level issues)
	

	Condition survey
	

	Planned maintenance policy/plan
	

	Refurbishment policy (covering improvement to building fabric and systems)
	


*Note (Not a part of this Standard): The level of CO2 emissions can be demonstrated by input of the DEC rating or an alternative method where a full DEC is not available.
** Note:  The scope of the assessment covers the local implementation of issues.  Policies and procedures marked with a double asterisk relate to the operation and maintenance of the building. They include, but are not be limited to, the following aspects of environmental management and responsibility:

· Occupant satisfaction surveys, feedback and targets

· Transport impact measurement and planning

· Biodiversity impact assessment and local partnerships 

· Measurement, reporting and targeting of building performance

Part 3 – Organisational Rating

The Standards

Part 3 of this standard provides a framework for the assessment and evaluation of management policies, procedures and practices related to the activities that an organisation is carrying out in the building being assessed. It evaluates the quality of understanding and implementation of these management systems at the building or site level.  Part 3 is independent of the inherent environmental quality of the building itself.

A Part 3 assessment can be carried out independently of any assessment against Parts 1 or 2 of this standard.  Many of the issues covered in Part 3 are also covered in Part 2 in relation to the specific management and operation of the building and its services.

Table 3 sets out the scope of the standard against which all Part 3 assessments will be carried out.  The specific application of these criteria to a building/site will be dependent on the nature of the organisation and its activities.  These criteria will be applied as set out in the relevant Scheme Documents and the issues and scores listed in Table 3 are indicative.  

	Table 3 – Organisational Rating Scope

	Assessment criteria
	Indicative Section weighting
(based on office activities or similar)

	MANAGEMENT (holistic management systems)
Note:  These may be corporate level systems but must be implemented in practice at the building level
	12.0%

	Building user liaison mechanisms and education programmes
	

	Environmental management system 
	

	Local environmental responsibility (staff designated)
	

	Environmental policy 
	

	Environmental purchasing policy implementation 
	

	Environmental management system 
	

	Business continuity plans (emergency)
	

	ENERGY
	19.5%

	Energy policies
	

	Energy and equipment purchasing policies
	

	Measuring and recording
	

	Targeting and monitoring
	

	Energy management training
	

	Carbon footprinting
	

	WATER
	3.5%

	Environmental policies 
	

	Purchasing policies
	

	Measuring and recording
	

	Targeting and monitoring
	

	Water management training
	

	MATERIALS 
	4.5%

	Environmental policies
	

	Environmental purchasing policies
	

	Measuring and recording (materials/resources and waste)
	

	Targeting and monitoring (materials/resources and waste)
	

	Hazardous materials
	

	Security
	

	Fire protection / resilience
	

	WASTE
	11.5%

	Environmental policies
	

	Measuring and recording (materials/resources and waste)
	

	Targeting and monitoring (materials/resources and waste)
	

	Waste management plan
	

	Waste management training
	

	HEALTH & WELLBEING (Staff)
	15.0%

	Stakeholder engagement
	

	Staff development
	

	Staff feedback mechanisms
	

	Targeting and monitoring
	

	Management training
	

	TRANSPORT
	18.5%

	Green travel plans/initiatives to reduce impacts of travelling
	

	Measuring and recording travel impacts (i.e. transport surveys)
	

	Business travel policies and procedures
	

	Car sharing/staff travel schemes
	

	Delivery management
	

	Accessibility/availability of public transport
	

	LAND USE & ECOLOGY (Biodiversity)
	5.0%

	Biodiversity survey of site
	

	Biodiversity action plan
	

	Enhancement of ecological value
	

	POLLUTION
	10.5%

	Management/maintenance of ground/water pollution control measures
	

	Flood risk management plan and procedures 
	

	Control of emissions to air
	

	Land contamination
	

	Control of hazardous chemicals etc
	


Notes:

1. Policies and procedures should cover steps taken to appropriately reduce, reuse, recycle, and train in relation to the organisations business activities.  

2. Assessment takes account of the degree of implementation of such policies and 

3. Procedures and incentives will be assessed at the building level.
© BRE Global Ltd 2009
© BRE Global 2009

